## BoQ Item
S-Bom Code | BOQ Items -EN | Currency
8818274542 | Co-Located Site without Antenna Revision Work ,per site | TRY
8818274543 | Co-Located Site with Antenna Revision Work ,per site | TRY
8818274283 | One Band Addition at the same site visit ,per pcs | TRY
8818274284 | One Band Swap ,per site | TRY
8812253505 | One Band Dismantling at the same site visit,per pcs | TRY
8812184247 | DBS/BTS system installation without F.O/DC (1-3 RRU/RFU), per Site | TRY
8812184590 | DBS/BTS system installation without F.O/DC (4-6 RRU/RFU), per Site | TRY
8812184591 | DBS/BTS system installation with F.O/DC (1-3 RRU/RFU), per Site | TRY
8812184592 | DBS/BTS system installation with F.O/DC (4-6 RRU/RFU), per Site | TRY
8818270786 | BBU Modernization, Per SITE | TRY
8818270784 | RRU Modernization, Per SITE | TRY
8818270797 | BBU Removal, Per SITE | TRY
8812184611 | BBU instalation,per Pcs | TRY
8812184610 | DCDU installation,per Pcs | TRY
8812184697 | Boards addition/replace to the existing BBU, per Site | TRY
8812184600 | TP48200/APM30/RFC/IBBS/TMC/CRC types outdoor cabinet family installation, per Set | TRY
8812253514 | Existing BTS / DBS cabinet dismantlement, per Site | TRY
8812184597 | Antenna Installation,per Pcs | TRY
8812184613 | Antenna Dismantle,per Pcs | TRY
8812184612 | RF Antenna Swap,per Pcs | TRY
8812184614 | RF Antenna Optimization Works,per Site | TRY
8818259359 | RRU Location Change (including existing Optical Fiber and DC Power Cable) ,per PCS | TRY
8812184598 | Additional RRU/RFU installation with all the cabling, per Pcs | TRY
8812184599 | Additional RRU Installation without FO cable and DC cable, per Pcs | TRY
8812184608 | RRU swap without any cabling,per Pcs | TRY
8812184609 | RRU dismantling without any cabling,per Pcs | TRY
8812184603 | Indoor Smallcell installation,per Pcs | TRY
8812184604 | Outdoor Smallcell installation,per Pcs | TRY
8812184607 | Existing feeder dismantlement (Frequency) ,Per Pcs | TRY
8812184619 | Feeder installation,Per sector | TRY
8812184618 | Fiber Optic Cable Dismantle (Frequency), Per Pcs | TRY
8812184616 | Fiber Optic Installation (Frequency), Per Pcs | TRY
8812184617 | Fiber Optic and RRU DC cabling (Frequency),per Pcs | TRY
8812184704 | FE Cable with RJ-45 connector ,per M | USD
8812184809 | Clamp for Coaxial (Feeder) Cable ,per PCS | TRY
8812253513 | External and Internal Alarm system Detectors Revision ,per SITE | TRY
8812253515 | Supply of fiber optical patch cord, per meter | TRY
8812253516 | Ret motor chance/installation, Per Pcs | TRY
8812253517 | TMA change/installation, Per Pcs | TRY
8818091948 | TK Certificate services for Remote activation LTE sites ,Per Site | TRY
8812210997 | BBU expansion with site visit,per site | TRY
8812210998 | Jumper and RCU addition with site visit (Only one Frequency),per pcs | TRY
88123MGE | GPS equipment,antenna and feeder installation ,per SET | TRY
8818274544 | New Microwave Installation&Commissioning,2*IDU,For 30cm - 60cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8818274545 | New Microwave Installation&Commissioning,2*IDU,For 90cm - 120cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8818274546 | New Microwave Installation&Commissioning,1*IDU,For 30cm - 60cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8818274547 | New Microwave Installation&Commissioning,1*IDU,For 90cm - 120cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8818274548 | New Microwave Installation&Commissioning,Without IDU,For 30cm - 60cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8818274549 | New Microwave Installation&Commissioning,Without IDU,For 90cm - 120cm Diameter Of 2 pcs Antenna,Per Hop | TRY
8812184623 | MW system upgrade from 1+0 to 1+1 ,per HOP | TRY
8812184624 | MW Hardware change (HUP) ,per HOP | TRY
8812184625 | MW Software Upgrade (SUP) ,per HOP | TRY
8818274550 | MW Swap including packing, back delivery to the warehouse and related documentation for asset (For 30cm - 60cm Diameter Of 2 pcs Antenna) ,per HOP | TRY
8818274551 | MW Swap including packing, back delivery to the warehouse and related documentation for asset (For 90cm - 120cm Diameter Of 2 pcs Antenna) ,per HOP | TRY
8812184627 | MW Swap including packing, back delivery to the warehouse and related documentation for asset (greather than 120 cm diameter antenna) ,per HOP | TRY
8812184810 | Microwave Network,Second Strut Bar For Antenna,Per pcs | USD
8812184628 | Optical Network(SDH Box),Commissioning,Per Site | TRY
8812184629 | Optical Network(SDH Box),Hardware Installation(with Rack),Per Site | TRY
8818274552 | Microwave Dismantling (1+0) For 30cm - 60cm Diameter Of Antenna, 2 pcs Per Hop | TRY
8818274553 | Microwave Dismantling (1+0) For 90cm - 120cm Diameter Of Antenna, 2 pcsPer Hop | TRY
8818274554 | Microwave Dismantling (1+1) For 30cm - 60cm Diameter Of Antenna, 2 pcs Per Hop | TRY
8818274555 | Microwave Dismantling (1+1) For 90cm - 120cm Diameter Of Antenna, 2 pcs Per Hop | TRY
8812184813 | Supply and installation 42U MW Rack ,per Pcs | TRY
8812184811 | Supply and installation MW Rack (14U to 20U) ,per Pcs | USD
8812184812 | Supply and installation MW Rack (32U to 36U) ,per Pcs | USD
8812253520 | Supply & installation 220cm ETSI Cabinet for SDH (with fuse panel) ,Per PCS | USD
8812184645 | Indoor DC Cabinet&System installation,integration,all AC/DC cabling and acceptance,per Site | TRY
8812184646 | Indoor DC Cabinet swap including packing and back delivery to the warehouse,per Site | TRY
8812184647 | Rectifier Addition installation,per Site | TRY
8818168495 | Battery swap, including auxilliary materials ,per SITE | TRY
8812184601 | Battery cabinet installation including battery installation, per Pcs | TRY
8812184602 | Battery group installation, per group | TRY
8812184807 | Circuit breaker (fuse) 10 A -100 A ,per PCS | USD
8812184808 | Supply and Installation MK-03 Relay,per Pcs | USD
8812253521 | Supply and installation of battery protection belt, per pcs | USD
8812253522 | Supply of 2x16mm2 RRU energy cable ,per meter | USD
8812253523 | Supply of 2x25mm2 RRU energy cable ,per meter | TRY
8818265081 | 10m LPRT Pole,per Pcs | USD
8818265067 | 12m LPRT Pole,per Pcs | USD
8818265083 | 3m LPRT Pole,per Pcs | USD
8818168518 | Supply & installation system room door ,per PCS | USD
8818168511 | Supply & installation System Room Accessories Service Package ( Use for only existing room & seperation) ,per SITE | USD
8818168524 | Supply & installation Solar Insulation Painting ,per SITE | TRY
8818249053 | Standard Crane usage, per Day | TRY
8812184657 | Climber usage for no crane access sites, per team/Day | TRY
8818259360 | Supply & installation Reinforced Slab Concrete, per m3 | USD
8812184653 | Steel Reinforced Slab Concrete For Outdoor Cabinet (AMP30/MMC/BTS3900A/TP etc.),per Site | USD
8812184859 | Supply and installation Outdoor cabinet GI steel structure support ,per Pcs | TRY
8818168519 | Supply & installation Lightning rod galvanized steel dia 20mm (L = 1.5m) ,per PCS | TRY
8818168520 | Supply & installation Lightning rod brass dia 20mm (L = 1.5m) ,per PCS | USD
8818168522 | Any type of site/material/equipment dismantling for GF Site ,per SITE | TRY
8818168523 | Any type of site/material/equipment dismantling for RT Site ,per SITE | TRY
8818218585 | Providing building licence and occupancy permit and approvals for towers/building, per Site | TRY
8812191022 | Providing of site selection document ,per site | TRY
8812161896 | Supply Conformity Certificate Service of Construction/Building, per PCS | TRY
8812184652 | Supply and installation GI Protection Roof for outdoor cabinet,per Pcs | USD
8812184858 | Supply and installation C-ray with apparatus,Per M | TRY
8818168491 | Air -conditioner Swaps ,per SET | TRY
8818272327 | Supply of Air Conditioner Installation Service, per PCS | TRY
88180224 | Supply and installation of Civil Air conditioner(24000BTU,wall-mounted split),per set | USD
8818071708 | Supply and Installation Barantech Brand, Wall Type Small Free Cooling System,Per PCS | TRY
88180LQQ | Supply and Installation Barantech Brand, Large Box Type Free Cooling System,Per PCS | TRY
8812216799 | Supply and installation Keybox ,per PCS | USD
8812184648 | Site type change (from Shelter/Container to Outdoor cabinet change) with outdoor cabinet, at the same site visit,per Site | TRY
8818168509 | Supply & installation Large Type Seperation (Base Frame Area Between 5 - 7m2) ,per PCS | USD
8818168508 | Supply & installation Small Type Seperation (Base Frame Area Less Than 5m2) ,per PCS | USD
8818168510 | Supply & installation Non Standart Seperation Work ,per M*M | USD
8818168512 | Supply & installation Shelter (internal dimension Area Size:0<A<=4m2 ,per pcs | USD
8818168513 | Supply & installation Shelter (internal dimension Area Size:4<A<=8m2 ,per pcs | USD
8818168517 | Supply & installation Underground Cabinet Large Type ,per SET | USD
8818259356 | Existing Lampost mast dismantling, Per Site | TRY
8818259357 | Existing Lampost mast installation, Per Site | TRY
8812184861 | Supply and installation Outdoor RRU Cabinet , per Pcs | TRY
8812184654 | Supply and installation GI Protection Roof for outdoor cabinet For Avea Only ,per Pcs | USD
8812184649 | Roof opening&isolation around shelter,,per M*M | TRY
8812184650 | Roof closing&isolation (in case of public reaction, contract cancellation etc.),,per M*M | TRY
8812184651 | Supply and installation Roof access window enlargement with zinc cover,per Site | TRY
8812184865 | Including supply and installation MCM,connections and isolations,per Pcs | USD
8812184662 | Fiber optic closure installation, splicing, cable test and acceptance support, per Pcs | TRY
8812184658 | Supply and installation 24 Core F.O Cable, Per M | TRY
8812184659 | Supply&Installation ODF box ,per Pcs | TRY
8812184661 | Supply ODF Patch Panel,per Pcs | USD
8812184660 | Supply and installation Fiber Optic Joint Box (2 cassette) (24 core),per Pcs | TRY
8812184862 | Supply and installation Paddle Box ,per Pcs | USD
8818168521 | Supply & installation Air Condition Condenser Cage ,per SET | TRY
8812184857 | Supply and installation Aluminum panel behind Antenna,per Pcs | TRY
8812184847 | Supply and Installation Cold Shrink For 7/8 Feeder ,per PCS | TRY
8812184863 | Supply 3M Brand Marking Label ,per Pcs | TRY
8812184844 | Supply and Installation Horizontal outdoor Cable ladder 300mm-500mm hot dip galvanized,Per M | TRY
8812184845 | Supply and Installation Ice Protection GI Feeder Cable Protection Cover (Thickness: 1mm),Per M | USD
8812184843 | Supply and Installation Steel Cable Tie,per Pcs | TRY
8812184839 | Supply and Installation PVC Canalette including fixing material, Per M | TRY
8812184840 | Supply and Installation PVC Pipe including fixing material,Per M | TRY
8812184837 | Supply and installation Cable protection PVC box,per Pcs | USD
8812184841 | Supply and Installation PVC spiral pipe,Per M | USD
8812184849 | Supply and installation Roxtec Modul addition,per Pcs | TRY
8812184848 | Supply and installation Cable Window(ship type of Roxtec),per Pcs | USD
8818041338 | Cable Window (WallMax WCC PA 180 1X1-34),per pcs | USD
8812184842 | Supply and Installation Steel Spiral Pipe ,Per M | USD
8812184846 | Supply and Installation Steel Cable Duct, Per M | TRY
8812184675 | Project&temporary admission for LV ,per Site | TRY
8812184689 | Topography for energy projects , Per Site | TRY
8812184690 | Energy Line Subscription (Optional) ,per SITE | TRY
8812184683 | Asphalt-pave (Asfalt) Fixing&Cutting (optional) , per M*M | USD
8812184674 | Trench (Including digging, sand, brick,backfilling, safety line) , per M | TRY
8818122313 | Stone opening and closing (keystone,parquet stone,paving stone,bordure stone, etc.),per Meter | TRY
8818035506 | GPR measurement and 2D / 3D reporting 0-150m,per pcs | TRY
8818035507 | GPR measurement and 2D / 3D reporting 150m>,per meter | TRY
8818024032 | Underground foundation GPR measurements and analysis report,per site | TRY
8812184684 | LV power supply and connection from power network to Rooftop Site, including Commercial AC connection if necessary all cabling and installation materials (cable, cable duct, clips) including. ,per M | TRY
8812184851 | Supply and installation of Power Meter box,per Pcs | USD
8818168496 | Supply and Installation of Digital counter, per pcs | USD
8812184699 | Supply and installation Residual Current Circuit Relay For New sites, per Site | TRY
8812184700 | Supply and installation Residual Current Circuit Relay For Existing Sites, per Site | TRY
8818259363 | Supply and installation Thermal magnetic switch(TMS) / Fire protection switch (YKS), per Site | USD
8818259361 | Supply & installation replacement of existing AC Power meter panel, Per SET | USD
8812184682 | Underground LV power supply and connection from power network to Site. , per M | TRY
8812184686 | Underground LV power supply and connection from power network to Site. 100-250m For Universal,Per M | TRY
8812184687 | Underground LV power supply and connection from power network to Site. 251m-500m For Universal,,Per M | TRY
8812184688 | Underground LV power supply and connection from power network to Site. 501m-1000m For Universal,Per M | TRY
8812184676 | GI A type LV mast ,per SET | TRY
8812184677 | GI K type LV mast ,per SET | TRY
8812184678 | LV power cable (alpek) 0-250m ,per M | TRY
8812184679 | LV power cable (alpek) 251-500m ,per M | TRY
8812184680 | LV power cable (alpek) 501-1000m ,per M | TRY
8812184681 | LV Power line installation between Last Mast and ACDB. (Aerial Line- Including galvanized power pole, izolator, guy wire, power cable (NYY), conduit box with circuit breakers and cable ducting and clips) ,per SITE | USD
8818168507 | Existing LV power cable Dismantling,Per M | TRY
8818168498 | Existing concrete poles dismantling ,Per Pcs | TRY
8818168499 | LV Wooden mast dismantling and back delivery to warehouse ,per PCS | TRY
8818168500 | LV iron mast dismantling (including necesarry part of foundation) and back delivery to warehouse ,per PCS | TRY
8818218534 | Supply and installation Compensation Panel,including transportation, Per PCS | USD
8818218533 | Supply and installation Compensation Panel Base, including transportation, Per PCS | USD
8812184852 | Supply and installation of AC Distribution Board(63A,Outdoor),per Pcs | USD
8812184853 | Supply&Installation Indoor Type ACDB,per Pcs | USD
8812184854 | Supply and installation of DC Power distribution box,per Pcs | TRY
8812216572 | Supply & Installation Generator control panel ,per PCS | USD
8812184673 | Supply and installation Over Voltage Protection panel ,per Set | USD
8812184850 | Supply and installation of Outdoor power cable connection box,per Pcs | USD
8812184860 | Supply and installation Parafudr,per Site | USD
8818203933 | Supply and installation, lightning rod and grounding system installation work, per SITE | USD
8812184834 | Supply Vertical Electrode(Copper),Per M | USD
8812184835 | Supply Horizontal Earthing conductor,per Pcs | USD
8812184836 | Supply Earthing Busbar(Copper),per Pcs | USD
8812184870 | Site survey,per Pcs | TRY
8818272324 | Neighbor site visit for GPS survey, per PCS | TRY
8812184919 | TK Permission Document ,per pcs | TRY
8812184920 | TSSR Document prepare without site visit ,per pcs | TRY
8812184921 | 1 TK Permission Document prepare ,per Pcs | TRY
8812184923 | Revision TK Preperation,per PCS | TRY
8812184924 | EMR measurement,per Pcs | TRY
8812184925 | EMR File Preparation for measurement with spectrum analyzer device, per Pcs | TRY
8812184926 | (IBS) EMR measurement, per Antenna | TRY
8812184927 | Site as-built documentation, Per site | TRY
8812184930 | LOS Site Survey, per Site | TRY
8812184928 | TK Certificate aluminum plate for printing,per pcs | TRY
8818168525 | EHS Site Survey ,Per SITE | TRY
8812184691 | Supply and Installation Vertical Access Ladder, Per m | USD
8812184693 | Supply and Installation Barries, Per m | USD
8812184692 | Supply and Installation Walking Ladder With Barrier, Per m | USD
8812184694 | Supply and Installation Roof Exit Cover, Per Pcs | TRY
8818168534 | Supply and Installation Horizontal Life Line With Anchor 20-30mt ,Per Pcs | USD
8818168531 | Supply and Installation Horizontal Life Line Without Anchor 20-30mt ,Per Pcs | TRY
8818168537 | Supply and Installation Vertical Life Line Without Anchor 20-30mt ,Per Pcs | TRY
8812184696 | Supply and Installation Horizontal Angular Access Ladder, Per m | USD
8818168533 | Supply and Installation Horizontal Life Line With Anchor 10-20mt ,Per Pcs | USD
8818168536 | Supply and Installation Vertical Life Line Without Anchor 10-20mt ,Per Pcs | TRY
8812184695 | Supply and Installation EHS Warning Sign, Per Set | USD
8818168530 | Supply and Installation Horizontal Life Line Without Anchor 10-20mt ,Per Pcs | TRY
8818168532 | Supply and Installation Horizontal Life Line With Anchor 0-10mt ,Per Pcs | USD
8818168535 | Supply and Installation Vertical Life Line Without Anchor 0-10mt ,Per Pcs | TRY
8818168529 | Supply and Installation Horizontal Life Line Without Anchor 0-10mt ,Per Pcs | TRY
8818168526 | Supply and Installation Horizontal Life Line Without Anchor More Than 30mt ,Per m | TRY
8818168527 | Supply and Installation Horizontal Life Line With Anchor More Than 30mt ,Per m | TRY
8818168528 | Supply and Installation Vertical Life Line Without Anchor More Than 30mt ,Per m | TRY
8812184663 | Extra Transportation for difficult terrain (tractor\manpower) (0-10 km) , per Site | TRY
8812184664 | Intercity TE Equipment Transportation With Small Truck 0 < 300 km, per Pcs | TRY
8812184665 | Intercity TE Equipment Transportation With 8-10 Wheel Truck 0 < 300 km,per Pcs | TRY
8812184666 | Intercity TE Equipment Transportation With Long Truck 0 < 300 km,per Pcs | TRY
8812184667 | Intercity TE Equipment Transportation With Small Truck 301 < 650 km,per Pcs | TRY
8812184668 | Intercity TE Equipment Transportation With 8-10 Wheel Truck 301 < 650 km,per Pcs | TRY
8812184669 | Intercity TE Equipment Transportation With Long Truck 301 < 650 km,per Pcs | TRY
8812184670 | Intercity TE Equipment Transportation With Small Truck 651 < 1000 km,per Pcs | TRY
8812184671 | Intercity TE Equipment Transportation With 8-10 Wheel Truck 651 < 1000 km,per Pcs | TRY
8812184672 | Intercity TE Equipment Transportation With Long Truck 651< 1000 km,per Pcs | TRY
8818265085 | 4,3m LPRT Pole,per Pcs | USD
8818265065 | 6m LPRT Pole,per Pcs | USD
8818265076 | 8m LPRT Pole,per Pcs | USD
8812184640 | Camouflage Dismantling (any type and shape of camouflage).Excluding Crane usage,per Site | USD
8812184702 | Camouflage Revision (any type and shape of camouflage), Per M*M | USD
8812184630 | Dismantling existing pole for any type of type and height, per pcs | TRY
8818265070 | GI Pole 2m,per Pcs | USD
8818265069 | GI Pole 3m,per Pcs | USD
8818265073 | GI Pole 4,3m,per Pcs | USD
8818265068 | GI Pole 6m,per Pcs | USD
8818265078 | GI Pole 8m,per Pcs | USD
8818265077 | GI Pole 9m,per Pcs | USD
8818264127 | Installation service 10m LPRT Pole,per Pcs | USD
8818264125 | Installation service 12m LPRT Pole,per Pcs | USD
8818264126 | Installation service 3m LPRT Pole,per Pcs | USD
8818264129 | Installation service 4,3m LPRT Pole,per Pcs | USD
8818264135 | Installation service 6m LPRT Pole,per Pcs | USD
8818264132 | Installation service 8m LPRT Pole,per Pcs | USD
8818264119 | Installation service GI Pole 2m,per Pcs | USD
8818264131 | Installation service GI Pole 3m,per Pcs | USD
8818264130 | Installation service GI Pole 4,3m,per Pcs | USD
8818264114 | Installation service GI Pole 6m,per Pcs | USD
8818264123 | Installation service GI Pole 8m,per Pcs | USD
8818264122 | Installation service GI Pole 9m,per Pcs | USD
8818264117 | Installation service MW antenna Pole-offset, per Pcs | USD
8818264113 | Installation service RF antenna Pole-offset, per Pcs | TRY
8818264134 | Monopol Tower Antenna Installation mount/pole aparatus for 3 sector, per SET | TRY
8818265159 | Monopol Tower Antenna mount/pole aparatus for 3 sector, per SET | TRY
8818265084 | MW antenna Pole-offset, per Pcs | USD
8818265066 | RF antenna Pole-offset, per Pcs | TRY
8818265160 | RRU standing rack ,per PCS | USD
8818264124 | RRU standing rack installation service, per PCS | USD
8818265082 | RRU support offset (1m Pole) ,per SET | USD
8818264118 | RRU support offset installation service (1m Pole) ,per SET | USD
8818168494 | Supply & Installation of a Single ADP Offset, per set | TRY
8812184643 | Supply and Installation Advertisement Board Type Camouflage,,per M*M | USD
8818265075 | High Density Lampost (8-10-12 meters / t:6mm) 130km/h ,per pcs | USD
8818264120 | Installation service High Density Lampost (8-10-12 meters / t:6mm) 130km/h ,per pcs | USD
8818270799 | High Density Lamppost (t:8mm) (8mt – Without Camouflage) for more than one operator ,per pcs | USD
8818270796 | Installation service High Density Lamppost (t:8mm) (8mt – Without Camouflage) for more than one operator ,per pcs | USD
8818265079 | High Density Lamppost (9mt Double Camouflage) for more than one operator ,per pcs | USD
8818264121 | Installation service High Density Lamppost (9mt Double Camouflage) for more than one operator ,per pcs | USD
8818265080 | High Density Lamppost (9mt Triple Camouflage) for more than one operator ,per pcs | USD
8818264112 | Installation service High Density Lamppost (9mt Triple Camouflage) for more than one operator ,per pcs | USD
8818265074 | High Density Lamppost (9mt Quad Camouflage) for more than one operator ,per pcs | USD
8818264115 | Installation service High Density Lamppost (9mt Quad Camouflage) for more than one operator ,per pcs | USD
8818270785 | High Density Lamppost (t:8mm) (10mt – Without Camouflage) for more than one operator ,per pcs | USD
8818270790 | Installation service High Density Lamppost (t:8mm) (10mt – Without Camouflage) for more than one operator ,per pcs | USD
8818270803 | High Density Lamppost (t:8mm) (12mt – Without Camouflage) for more than one operator ,per pcs | USD
8818270793 | Installation service High Density Lamppost (t:8mm) (12mt – Without Camouflage) for more than one operator ,per pcs | USD
8818270783 | High Density Lamppost (t:8mm) (14mt – Without Camouflage + With climbing ladder) for more than one operator ,per pcs | USD
8818270792 | Installation service High Density Lamppost (t:8mm) (14mt – Without Camouflage + With climbing ladder) for more than one operator ,per pcs | USD
8818270801 | High Density Lamppost (t:8mm) (14mt – Single Camouflage) for more than one operator ,per pcs | USD
8818270789 | Installation service High Density Lamppost (t:8mm) (14mt – Single Camouflage) for more than one operator ,per pcs | USD
8818270794 | High Density Lamppost (t:8mm) (14mt – Double Camouflage) for more than one operator | USD
8818270805 | Installation service High Density Lamppost (t:8mm) (14mt – Double Camouflage) for more than one operator | USD
8818270802 | High Density Lamppost (t:8mm) (14mt – Triple camouflage) for more than one operator | USD
8818270791 | Installation service High Density Lamppost (t:8mm) (14mt – Triple camouflage) for more than one operator | USD
8818270798 | High Density Lamppost (t:8mm) (14mt – Quad Camouflage) for more than one operator | USD
8818270788 | Installation service High Density Lamppost (t:8mm) (14mt – Quad Camouflage) for more than one operator | USD
8818265064 | Welded Panel fence, per meter | USD
8818264133 | Welded Panel fence installation service, per meter | USD
8818265072 | Fence gate&padlock, per PCS | TRY
8818264116 | Fence gate&padlock installation service, per PCS | TRY
8812184636 | Supply and Installation Air Condition Outdoor Unit Type Camouflage (85cm x75cmx45cm),per Pcs | USD
8812184637 | Supply and Installation Air Condition Outdoor Unit Type Camouflage 2 pieces (85cm x75cmx45cm),per Pcs | USD
8812184644 | Supply and Installation Air Flow to Existing Camouflage,per Pcs | USD
8812184631 | Supply and Installation Camouflage Chimney 2m Height,per Pcs | USD
8812184632 | Supply and Installation Camouflage Chimney 3m Height,per Pcs | USD
8812184633 | Supply and Installation Camouflage Chimney 4m Height,per Pcs | USD
8812184634 | Supply and Installation Camouflage Chimney 5m Height,per Pcs | USD
8812184635 | Supply and Installation Camouflage Chimney 6m Height,per Pcs | USD
8818168492 | Supply and Installation Camouflage Chimney 7m Height ,per Pcs | USD
8818168493 | Supply and Installation Camouflage Chimney 8m Height ,per Pcs | USD
8812184641 | Supply and Installation Camouflage Lampost (Cylinder Type),per Pcs | USD
8812184642 | Supply and installation Non-Standard Camouflage Works (any type and shape of camouflage),per M*M | USD
8818259362 | Supply and installation Shutter type Camouflage ,Per PCS | USD
8812184819 | Supply and installation Star Offset, per Pcs | USD
8812184638 | Supply and Installation Water Tank Type Camouflage With 2 pieces PV Panel,per Pcs | USD
8812184639 | Supply and Installation Water Tank Type Camouflage,per Pcs | USD
8818265071 | Wall mount antenna Pole-offset ,per SET | TRY
8818264128 | Wall mount antenna Pole-offset installation service ,per SET | TRY
8818274254 | Supply and istallation E2 type pad lock | TRY
8818274255 | Supply And Installation Antitheft Cage for Outdoor Cabinet Per pcs. | TRY
8818274256 | Supply And Installation Antitheft Rail for System Room Door, per pcs | TRY
8818274257 | Plastic grass supply and installation, per m2 | TRY
8818274259 | Supply and ınstallation Ground Plate for nonstandart Camouflage | TRY
8818274258 | Gravel (no:3-4) supply and laying, per m3 | TRY
8818278836 | Green Site Project survey,per PCS | TRY
8812413125 | 6 pcs PV installation and commissioning top of container, per site | TRY
8818269134 | 4 pcs PV Installation and commissioning on the tower as two piece, per set | TRY
8818269135 | 4 pcs PV Installation and commissioning on the tower as a single piece, per set | TRY
8812456039 | Incentive for 360 camera usage | TRY
| Optical Cable Parts,DLC/UPC,DLC/UPC,single mode,200m, 2 cores,0.03m/0.34m,GYFJH-2G.657A2,7.0mm,2mm,LSZH,Armored branch | TRY
8818286453 | 4,5m LPRT Pole,per Pcs | USD
8812464249 | Compensation for TE additional team onboarding B , one-off, per team | TRY
8818286456 | DC Cable Dismantle (Frequency), Per Pcs | TRY
8818278116 | Getting scientific responsibility documents of electrical engineers, per site | TRY
8818278108 | Installation of 7,2m LPRT pole, per set | TRY
8818278578 | Installation of apparatus for 6 meter Pole to 7,2 meter modernization, per set | TRY
8818286460 | Installation service 4,5m LPRT Pole,per Pcs | TRY
8818278581 | RF & MW Antenna and RRU dismantling and installation for Camouflage revisions, per site | TRY
8818278119 | RF & MW Antenna and RRU dismantling and installation for Pole revisions, per site | TRY
8818286454 | Standalone Site Auxiliary Materials, per site | USD
8818278835 | Supply and installation of 1x40A to 1x80A MCB,per pcs | TRY
8818278114 | Supply and Installation of metal sheet for Battery Rack, per pcs | TRY
8818278098 | Supply of 7,2m LPRT pole, per set | USD
8818278575 | Supply of apparatus for 6 meter Pole to 7,2 meter modernization, per set | USD
8812463188 | TC Wireless Incentive, per site | TRY
8812463187 | TT Wireless Incentive, per point per pcs | TRY